HAZARD ANALYSIS

&

Project Review Form

PHYSICS DIVISION

ARGONNE NATIONAL LABORATORY

9700 SOUTH CASS AVENUE

ARGONNE, ILLINOIS 60439

Table of Contents

1. Experiment Program Description: 	1

2. Organization and Responsibilities:	1

3. Facility Description:	1

3.1. Location	1

3.2. Experimental equipment	1

3.3. Controls	2

3.4. Support and service equipment:	2

3.4. Support and service equipment:	2

4. Operating and Maintenance Procedures: 	2

4.1. Operating Procedures	2

4.2. Maintenance Procedures	2

4.3  Experiment Procedure	2

5. Training: 	2

6. Hazards for Normal Operations	2

7. Hazards for Postulated Accidents:	5

8. Safety Systems and Equipment: 	5

9. Safety Procedures	5

9. Safety Procedures	5

Environmental Compliance Procedures: 	5

Emergency Procedures	5

Waste Management Considerations	5

List of Applicable Documents	5

Hazard Analysis

&

Project Review Form

1.	Experiment Program Description:

A brief Description of the project with enough information to give the review committee an understanding of the scope of the project and the equipment involved.

2.	Organization and Responsibilities:

3.	Facility Description:

3.1.	Location

Location of the equipment/facility at Argonne (building / room)

3.2.	Experimental equipment

A brief description of the equipment used in the project

3.2.1.	Item 1

description

3.2.2.	Item 2

description

Figure 1

Include figure(s) of equipment if helpful

3.3.	Controls

A description of the equipment controls used in the project, if that would help explain the equipment.

3.4.	 Support and service equipment:

In addition to the equipment mentioned above, the following will be used:

A description of any electrical, water, utility or safety systems that will be used in the project B if this would clarify the scope of the project.

4.	Operating and Maintenance Procedures:

4.1.	Operating Procedures

4.2.	Maintenance Procedures

4.3		Experiment Procedure

5.	Training:

List any training necessary which is unique to this projector the use of this equipment (laser, radiation, chemical, electrical, etc, training.)

6.	Hazards for Normal Operations

The checklist below is derived from the ES&H Manual. While it appears to be rather extensive, it is a handy listing of the types of hazards that may be present when we work.  Use it to list any hazards present in the set-up, running and removal of the project.  Mark the AYES@ or ANO@ column for each hazard listed.

For each AYES@ marked, explain below the form what the hazard consists of.  Use the AREMARKS@ column to direct the reader to the sub-section explaining the hazard.

Note that this section addresses the hazards associated with normal operations of the Project or Facility. The hazards associated with postulated accidents are addressed in Section 7.

TABLE 6-1

POTENTIAL HAZARDS CHECKLIST

(ANL-E ES&H Manual Section 21.2, Appendix A)

| POTENTIAL HAZARD | YES | NO | REMARKS |
| --- | --- | --- | --- |
| Radiation and Electromagnetic Fields |  |  |  |
| Ionizing Radiation |  |  |  |
| Alpha |  |  |  |
| Beta |  |  |  |
| Gamma and/or X-Ray |  |  |  |
| Neutron |  |  |  |
| Proton |  |  |  |
| Subatomic |  |  |  |
| Nonionizing Radiation |  |  |  |
| Laser |  |  |  |
| Visible Light |  |  |  |
| Ultraviolet |  |  |  |
| Microwave |  |  |  |
| Radiofrequency |  |  |  |
| Electric Fields |  |  |  |
| Magnetic Fields |  |  |  |
| Chemicals and/or Materials |  |  |  |
| Health and Injury Hazards |  |  |  |
| Carcinogens |  |  |  |
| Mutagens |  |  |  |
| Teratogens |  |  |  |
| Toxins |  |  |  |
| Corrosives |  |  |  |
| Irritants, Allergens, and/or Sensitizers |  |  |  |
| Volatile Solvents |  |  |  |
| Combustion and Injury Hazards |  |  |  |
| Flammable Liquids and/or Solvents |  |  |  |
| Metallic Combustibles |  |  |  |
| Flammable Gases |  |  |  |
| Compressed Oxygen |  |  |  |
| Open Flame or Sparks |  |  |  |
| Combustible Materials |  |  |  |
| Explosives |  |  |  |
| Flammable Suspended Dust Particles |  |  |  |
| Pyrophoric Chemicals |  |  |  |
| Respiratory or Contact Injury Hazards |  |  |  |
| Cryogenics |  |  |  |
| Thermal (High or Low) |  |  |  |
| Dust, Particulates, and Fibers |  |  |  |
| Asbestos |  |  |  |
| Explosives |  |  |  |
| Reactive Chemicals |  |  |  |
| Compressed Gases |  |  |  |
| Pressure and/or Vacuum Systems |  |  |  |
| Steam |  |  |  |
| Asphyxiation |  |  |  |
| Stored Energy Not Elsewhere Addressed |  |  |  |
| Hydraulic Energy |  |  |  |
| Kinetic Energy |  |  |  |
| Mechanical Energy |  |  |  |
| Potential Energy |  |  |  |
| Other |  |  |  |
| Biohazards |  |  |  |
| Virus |  |  |  |
| Bacteria |  |  |  |
| Human Tissues and/or Body Fluids |  |  |  |
| Animals and Animal Tissue |  |  |  |
| Electrical |  |  |  |
| High Voltage Devices |  |  |  |
| Storage Devices |  |  |  |
| Static Charge |  |  |  |
| Lightning Protection |  |  |  |
| Grounding |  |  |  |
| Exposed Conductors |  |  |  |
| Mechanical |  |  |  |
| Lifting Devices |  |  |  |
| Low Friction Surfaces |  |  |  |
| Load-Bearing Components |  |  |  |
| Vibration |  |  |  |
| Sharp Points or Edges |  |  |  |
| Moving Parts |  |  |  |
| Pinch Points |  |  |  |
| Ladders, Scaffolds, and/or Platforms |  |  |  |
| Work Environment |  |  |  |
| Activities at Known or Suspected Hazardous Waste Sites |  |  |  |
| Use of Self-Contained Breathing Apparatus |  |  |  |
| Temperature or Other Climatic Extremes |  |  |  |
| Severe Weather |  |  |  |
| Noise |  |  |  |
| Confined Spaces |  |  |  |
| Others (Tripping Hazards) |  |  |  |

6.1.	First hazard listed

6.2.	Second hazard listed, etc.

7.	Hazards for Postulated Accidents:

Include here the potential accidents that can occur when setting up, using or taking down the project/equipment.  The list above can be used as a guide.

8.	Safety Systems and Equipment:

List any safety systems or equipment installed specifically for this project, or which will have direct consequences for the potential hazards listed for this project or equipment.

9.	Safety Procedures

List any safety procedures created for the project or equipment.

- Environmental Compliance Procedures:

Does this experiment or equipment meet the definition of the NEPA bench scale exemption  YES    NO

If NO, NEPA documentation is required. Contact Tom Mullen 2-2879

List any procedures you needed to create (if any) for environmental compliance purposes.

- Emergency Procedures:

List any emergency procedures you have created to handle the accidents listed in #7 above.

- Waste Management Considerations

List the waste you expect to generate (by type,) and the means you will use to dispose of it.

- List of Applicable Documents