## Slide 1
Modification of Geant4 simulation
Detailed crystal structures included
reference materials
real geometry

## Slide 2
Checking of single Clover against NaI
Clover
NaI
(φ7.62cm×7.62cm)
NaI + source (25 cm away) for checking of the absolute photopeak efficiency
1330 keV gamma
106 events generated
 | photo peak count | detection efficiency
NaI | 1337 | 1.337×10-3
Clover Crystal #1 | 327 | 24.5% (Relative)
Clover Crystal #2 | 330 | 24.7% (Relative)
Clover Crystal #3 | 308 | 23.0% (Relative)
Clover Crystal #4 | 340 | 25.4% (Relative)
before Add back | 1305 | 97.6% (Relative)
after Add back | 2013 | 150.6% (Relative)
add-back factor: 1.54
Literature value: 1.2X10-3

## Slide 3
Energy [keV]
photo peak efficiency [%]
after Add back
before Add back
Geant4 simulation
Detector geometry